University of California, Santa Cruz

Aerosol Transmissible Diseases (ATD’s) Biosafety Plan

To comply with Cal-OSHA Title 8, Section 5199

https://www.dir.ca.gov/Title8/5199.html

To the Principal Investigator:

This Biosafety Plan describes the procedures and measures to establish, implement and maintain an effective program to minimize research laboratory employee exposure to Aerosol Transmitted Pathogens – Laboratory (ATPs-L) as mandated by California Occupational Safety and Health Standards board Title 8, section 5199.  Consult Appendix D of the standard to determine the specific pathogens covered under the standard, but note that virtually any human pathogen, including many pathogens not normally considered likely to infect humans by aerosolization, could be covered under the standard depending on the potential worker exposure to the pathogen.  Some of the agents that are covered under the ATD standard include all retroviruses, all arboviruses, Salmonella sp., Chlamydia trachomatis, influenza viruses, Risk Group 2 Mycobacterium sp., and all microbial agents normally handled at BSL3.  Other agents are also covered if used in a manner or quantity that could result in aerosolization of the agent.  Replication defective viral vectors from other than commercial sources may also be subject to this standard if aerosol exposure to laboratory or animal care staff could occur.

The Standard requires that each laboratory that works with any of the agents specified in Appendix D of the Standard must develop a biosafety plan which must be reviewed and approved by one of the individuals identified in (1b), below.  The Biosafety Plan must include the required information in sufficient detail to provide a useful training document for laboratory employees and students.  The information included in Item 4 below should be considered a minimum requirement to be expanded to reflect actual risks and practices for your work site.

Completion and adoption of this document does not substitute for obtaining a Biological Use Authorization (BUA) from the Institutional Biosafety Committee (IBC) that authorizes the possession, storage, transfer, and use of the biohazardous materials noted in this biosafety plan.  Further, completion and annual update of this biosafety plan is a prerequisite for securing and maintaining IBC approval of your BUA. Where practicable, the information included in this biosafety plan may duplicate information presented in your Biological Use Authorization, but you are responsible for training your staff and students in both documents.

Definitions:

ATD: Aerosol Transmissible Diseases

ATP-L Aerosol Transmissible Pathogens-Laboratory

BMBL: “Biosafety in Microbiological and Biomedical Laboratories,” Centers for Disease Control and Prevention, US Department of Health and Human Services

IBC: Institutional Biosafety Committee

BUA: Biological Use Authorization

| Principal Investigator (PI): |  |  | Phone: |  |
| --- | --- | --- | --- | --- |
| E-mail: |  |  |  |  |

Locations of work sites:

| Building name | Room # |
| --- | --- |

- Biosafety Officer:

  - Laboratory Biosafety Officer with sufficient knowledge to conduct required laboratory-specific risk assessments, to develop risk minimization measures specific to the laboratory, and to implement, review, and update this Biosafety Plan:

  - Campus Biosafety Staff with the authority to review the laboratory risk assessments, to approve the Biosafety Plan, and to review plans to modify the facility that would affect control measures:

Trevor Michalchuk, Biosafety Officer

Environmental Health and Safety

University of California, Santa Cruz

831-459-3542; biosafety@ucsc.edu

Brent Cooley, Industrial Hygiene Program Manager

Environmental Health and Safety

University of California, Santa Cruz

831-459-5394; biosafety@ucsc.edu

- Employees, tasks and procedures:

  - Job Classification(s) – please complete Appendix A.  List all personnel involved with ATD research.

  - Job Task(s) and Procedure(s) – please check off the procedures being performed in the laboratory with ATPs-L; you may list others in the space provided:

|  | Pipetting |
| --- | --- |
|  | Homogenizing |
|  | Vortexing |
|  | Sonicating |
|  | Injecting |
|  | Centrifuging |
|  | Pouring |
|  | Plating |
|  | Mixing |
|  | Shaking |
|  | Injecting |
|  | Necropsy |
|  | Animal handling |
|  | Sample collection |

- ATPs-L known or reasonably expected to be present in the laboratory.

Please refer to appendix D of the Cal-OSHA Title 8 Standard 5199 (https://www.dir.ca.gov/Title8/5199.html) and list the ATPs in use in the laboratory:

| Name | Form (culture, infected tissue, environmental sample, etc) |
| --- | --- |

Use additional pages if necessary

- Safe handling practices:

  - Practices for handling samples and specimens will follow the standards described in the latest edition of the Centers for Disease Control (CDC) Biosafety in Microbiological and Biomedical Laboratories (BMBL).  These are Standard Practices to be used by all laboratories that work with ATP’s-L, to be supplemented by other practices as appropriate.

    - Access to the laboratory is controlled by written institutional and investigator policy.

    - Persons must wash their hands after working with potentially hazardous materials, after removing gloves, and before leaving the laboratory.

    - Eating, drinking, smoking, handling contact lenses, or applying cosmetics is not permitted in the laboratory.  Food must be stored in areas outside of the laboratory designed for this purpose.

    - Mechanical pipetting devices are to be used at all times (no mouth pipetting allowed).

    - Sharps including razor blades, scalpels, and hypodermic needles and other sharp instruments are limited to use only when there is no alternative.

      - Disposable sharps must be placed in hard-walled sharps waste containers designed and approved specifically for that purpose.

      - Non-disposable sharps must be transported to the autoclave in a hard-walled container for decontamination before further processing.

      - Plasticware should be substituted for glassware wherever possible.

      - Broken glass must be picked up with broom or brush and dustpan, tongs, or forceps and disposed to a container approved for that use.

    - Perform all procedures in a manner that minimizes splashes or aerosols.

    - Perform all aerosol-generating procedures in a containment device such as a biological safety cabinet or a centrifuge with sealed rotors.

    - Work surfaces will be decontaminated at least once per day and after any spill or splash of infectious material with an approved disinfectant.  Check chemical disinfectants available in the laboratory:

|  | Household bleach |
| --- | --- |
|  | Ethanol |
|  | Iodophor |
|  | Quaternary ammonia |
|  | Other: |

    - All cultures, stocks, and other regulated liquid waste, will be decontaminated before disposal by addition of bleach to a 10% final bleach concentration in the contaminated liquid and 30 minutes minimum contact time.  The decontaminated material may be disposed in the sink, followed by a water rinse sufficient to flush all of the decontaminated material down the drain.

    - Dry waste must be discarded in approved biohazardous or medical waste bags and disposed in the appropriate waste stream.

    - The laboratory door and all equipment and storage sites where infectious materials may be present must be posted with signs incorporating the universal biohazard symbol.  The entryway sign must include the following information:

      - Biosafety level of the laboratory.

      - Supervisor or other responsible individual’s name and complete contact information.

      - Name of the biohazardous agent(s) in use in the laboratory (except select agents)

      - Required procedures for entering and exiting the laboratory (e.g., access limited to authorized personnel only, escorted access only, PPE requirements for entering the laboratory, PPE doffing order for exiting the laboratory, other laboratory-specific requirements)

    - All individuals who work with the agents in use in the laboratory must follow any health surveillance recommendations specific to the hazards of the agents in use and the experiments being conducted in the laboratory if outlined in the associated BUA or IBC approval.  Persons with special health concerns such as pregnant women or immunocompromised individuals are encouraged to self-identify to available Occupational Health physicians (Santa Cruz Occupational Health Center) or their Primary Medical Doctor and receive counseling on work with the agents in use in the laboratory.

    - Specific training depends on each person’s activity within the facility.  This includes personnel such as supervisors, staff employees, students, and visitors.  All such training must be documented.

    - Other safe work practices specific to the laboratory:

  - Prohibited practices in all laboratories:

    - Do not eat, drink, smoke, handle contact lenses, or apply cosmetics in any UC Santa Cruz laboratory at any time.

    - Do not store food in refrigerators or freezers where biological materials, chemicals or radioactives are kept.  All freezers and refrigerators in the laboratory must be labeled to identify proper storage.

    - Mouth pipetting is prohibited.

    - Do not break, shear, or recap hypodermic needles, or remove hypodermic needles from disposable syringes.

    - Do not place your head into a Biological Safety Cabinet.

    - Do not sniff cultures and other samples.

    - Other prohibited (unsafe) work practices specific to the laboratory:

- Engineering controls:

BSL-2 laboratories:

  - All procedures involving the potential aerosolization of infectious materials are conducted within a certified Biological Safety Cabinet or other physical containment device.

    - Specify other available physical containment devices at your laboratory locations:

  - An eyewash is available.

  - Laboratory doors are self-closing.

  - The laboratory floors and walls can be easily cleaned and decontaminated.

  - Carpets and rugs are not permitted.  Seams, floors, walls, and ceiling surfaces are sealed.

  - Furniture can be easily cleaned and decontaminated.  Chairs are covered with non-porous material than can be easily cleaned and decontaminated with appropriate disinfectant.

  - Spaces between benches, cabinets, and equipment are accessible for cleaning.

  - A sink for hand washing is available in the laboratory.

  - An autoclave capable of inactivating infectious waste is available or a vendor is used to treat infectious waste.

- Personal protective equipment (PPE):

  - Check PPE to be used when working with and near potential ATPs

|  | Lab coat |
| --- | --- |
|  | Closed front gown/coverall |
|  | Single gloves |
|  | Double gloves |
|  | Goggles |
|  | Respirator |
|  | Shoe covers |
|  | Other: |

  - List procedures that require use of PPE

  - List operations or conditions that require use of respirators2

- Decontamination and disinfection procedures for laboratory surfaces and equipment:

  - List surface and equipment decontamination procedures

| Biological Safety Cabinet |  |
| --- | --- |
| Centrifuges |  |
| Incubators |  |
| Walls, floors |  |
| Benches |  |
| Spill cleanup |  |
| Other equipment |  |

- All incoming packages containing ATPs-L will be treated as containing the virulent or wild-type pathogen until verified at the laboratory that a pathogen has been deactivated or attenuated.

  - Unopened package surface inspected for integrity, wiped down or sprayed with 0.5% sodium hypochlorite (10% bleach).

  - The package must always be opened inside a Biological Safety Cabinet to ensure worker protection.

- Laboratory inspection and biosafety audit:

The Environmental Health and Safety Biosafety Officer will conduct periodic inspections of the laboratory.  The inspection will cover the following areas:

  - Training compliance documentation

    - Biological Use Authorization

    - ATP-L Biosafety Plan (this document)

    - Bloodborne Pathogen Exposure Control Plan (if applicable)

    - Respirator clearances (if applicable)

    - Health surveillance participation, if applicable

  - Safe handling practices

  - PPE availability

  - Biological Safety Cabinet certification up to date

  - Security (if applicable)

- Emergency procedures for uncontrolled releases of biohazardous materials:

  - Spills within the laboratory facility:

    - Emergency response including evacuation:

    - Cleanup inside a containment device such as a biological safety cabinet:

    - Cleanup outside of a containment device:

    - Personal decontamination:

  - Loss of negative pressure in biological safety cabinet (including power failure):

    - Emergency response including evacuation:

    - Spill cleanup inside the biological safety cabinet:

    - Personal decontamination:

  - Earthquake, severe weather events, fire, bomb threat, gas leak, security breach, intruder:

    - Emergency response including evacuation:

    - Follow-up from outside of the laboratory:

    - Cleanup inside the laboratory after the emergency is resolved:

    - Personal decontamination, if applicable:

- Medical treatment and services:

  - Recommended vaccinations for work with ATP’s-L used in this laboratory:

  - Medical follow-up for employees who experience exposure to ATP-Ls used in this laboratory:

  - Annual TB test requirement for employees potentially exposed to TB as a work hazard (specify N/A if not applicable):

- Procedures for initial training and annual refresher employee training:

  - Training records shall include the following information:

    - The date of the training session.

    - The contents or a summary of the training session.

    - The names and qualifications of persons conducting the training or who are designated to respond to interactive questions.

    - The names and job titles of all persons attending the training session.

- Procedures to involve employees in the evaluation of the effectiveness of this Biosafety Plan in the work areas:

Vaccination Declination Statement (Mandatory)

The employer shall ensure that employees who decline to accept a recommended vaccination offered by the employer sign and date the following statement as required by subsection (h)(5)(E):

I understand that due to my occupational exposure to aerosol transmissible diseases, I may be at risk of acquiring infection with __________________________________ (name of disease or pathogen). I have been given the opportunity to be vaccinated against this disease or pathogen at no charge to me.  However, I decline this vaccination at this time. I understand that by declining this vaccine, I continue to be at risk of acquiring _________________________________________ , a serious disease. If in the future I continue to have occupational exposure to aerosol transmissible diseases and want to be vaccinated, I can receive the vaccination at no charge to me.

________________________________________	_____________________

Employee Signature	Date

Appendix A:  All Designated Persons Conducting Experiments Invovling ATDs

| Name | Phone & Email | Job Classification/Title (Choose from drop-down list) | Training Completed (within last 12 months) | Qualifications and Experience (and/or other agent specific training): |
| --- | --- | --- | --- | --- |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |
|  |  |  | EHS – Biosafety and BBP Training |  |

# Footnotes

All individuals using a respirator must participate in the campus respiratory protection program, including medical clearance and fit testing by Environmental Health and Safety.

Uncontrolled releases within the laboratory facility and untreated releases outside the laboratory facility shall be reported to the local health officer (§5199 f.4.J.) and the Campus Biosafety Officer.  On campus, call 911.

All individuals potentially exposed to ATPs-L in the course of their work MUST report to Cowell Student Health Center, Santa Cruz Occupational Health Center or the Dominican hospital emergency room.

§5199 j.2.A.  Training records shall be maintained for three years from the date on which the training occurred.

Evaluation of this document should be performed annually and documented in writing.  §5199 j.3.A.