# UCSC Laboratory Inspection

## PI:______________________________ Department: ______________________________

Building: ________________________Room(s): _________________________________

Inspector(s): ___________________________________Inspection Date: ____/____/____

### Documentation and Records

#### Yes	No

		The lab’s written Injury & Illness Prevention Program (IIPP) and Chemical Hygiene Plan (CHP) are current and available for review by lab personnel (Binder).

		A responsible person has been designated and documented (both in lab and to EH&S) as the Lab Safety Representative (LSR) (Appendix A in the IIPP / CHP Binder).

		Information about the lab standard and IIPP has been communicated to everyone working in the laboratory and there are records (signed sheets) to document this.

		Current Emergency Response (ER) procedures and contact information is posted for the laboratory via the "flip chart" (new cover sheets for contact info are available from EH&S).

		Emergency Door Card(s) are posted as necessary and contact information is current and correct.

		A laboratory chemical inventory is available (Do you have or know how to access your inventory? Chemtracker).

		The specific training requirements for your laboratory personnel have been identified and documented (Appendix H in the IIPP/CHP Binder).

		All required training is completed and documented in the Training Binder:

	When new Employees, Students or Post-Docs join the Lab Group;

	Whenever new substances, processes, procedures or equipment are introduced into the workplace and/or before existing or outside users first engage the hazard;

	Supervisors - to familiarize them with the safety and health hazards to which employees under their immediate direction and control may be exposed.

		Training documentation is available for previous three years.

		Required written SOPs are available (in SOP Binder) for

	Hazardous laboratory work processes and equipment

	Hazardous biological agents and/or animal work

		Required written procedures for handling “Particularly Hazardous Materials” are available, including the specific risks and measures for mitigation of hazards (in SOP Binder) by:

	Establishment of a designated area and specific practices

	Use of containment devices such as fume hoods or glove boxes

	Procedures for safe removal of contaminated waste

	Exposure control, response and decontamination procedures

(a list of Particularly Hazardous Materials for your lab is available from EH&S)

		Laboratory safety self-inspections are performed and documented in IIPP Binder with dated Corrective Actions (Recommended minimum is quarterly).

Comments:

### Prudent Practices

Yes	No

		Is good housekeeping practiced in the work area? Is it free of debris, combustibles, excessive storage and obstructions? Are spills promptly cleaned up?

		Are food and beverages prepared and consumed away from lab workspaces and stored out of chemical storage refrigerators and cabinets?

		Is proper Personal Protective Equipment (PPE) readily available for all personnel, including visitors, and worn when working in the lab? (Safety glasses or goggles, appropriate gloves, lab coat, apron, face shield, etc. NO SHORTS OR SANDALS)

Laboratory Equipment

		Are eye wash/safety showers available in areas where corrosives and toxics are used?

	Blocked	        	Not Apparent	        	Needed but not available

		Do lab personnel know the location and how to operate the safety shower/eye-wash and is it accessible (not blocked)?

		Is fume hood sash at proper operating level and is a tell tail (small tissue, etc.) present to verify at a glance hood is drawing air?

		Is storage of chemicals and equipment kept to a minimum in fume hood so it does not impede proper airflow?

		Are all of the lab facilities in good repair, including light fixtures, plumbing and ceiling tiles?

Comments:  _____________________________________________________________________

		Are microwave ovens, refrigerators and freezers properly labeled based on storage classification (NON-FLAM CHEM ONLY, FOOD ONLY, etc.)?

Hazardous Materials

		Do chemical containers have legible, current labels to identify contents and hazards of the material?

		Do lab personnel have access and understand how to use Material Safety Data Sheets (MSDSs)? (Access database at:  http://ehs.ucsc.edu/MSDS_and_Chemical_Info/ )

		Are chemicals segregated according to hazard class and compatibility (oxidizing from organic acids, bases, flammables, etc.), into appropriate, labeled secondary containment?

		Are peroxide forming chemicals (ethyl ether, tetrahydrofuran, dioxane) managed in the lab (date of purchase, date opened, disposed when expired)?

		Are chemical storage areas secured against unauthorized entry? (Kept locked when not occupied and/or hazardous chemicals kept in locked cabinets.)

		Are flammable liquids used / stored away from sources of heat and ignition?

		Are all flammable containers properly closed/covered to control vapors?

		Are flammables stored in approved, spark-proof, lab-safe refrigerators and freezers?

		Are all excess flammable liquids (dispensing reagent containers and aggregate > 10 gal.), including wastes, kept in approved flammable liquid storage (room or cabinet)?

		Do flammable liquid cabinet doors close and latch properly?

Comments:

Hazardous Materials and Wastes

Yes	No

		Are all flammable liquid cabinets located away from evacuation routes; heat or ignition sources and combustible materials storage (i.e., no paper stored on or around cabinet)?

		Flammables are not dispensed from gravity-fed or bottom-dispensing containers (including >5% ethanol solutions)?

		Are all gas cylinders properly secured with 2 metal straps or chains (top 1/3, bottom 1/3) or other adequately engineered system to prevent tipping or falling?

		Are fuel gas cylinders and oxygen cylinders separated by distance and fire-resistant barriers, while in storage?

		Are cylinder valves shut off and gauges removed and valve caps in place when not in use?

		Are cylinder contents adequately labeled and labels easily seen?

		Are flammables, corrosives and skin-absorbable poisons kept off the floor in common practice and secondarily contained if it is temporarily necessary for them to be there?

		Are glass and sharps (needles, syringes, razor blades, etc.) stored in approved puncture resistant containers and properly labeled (biohazardous sharps, sharps, etc.)?

		Are containers stored in some sort of secondary containment to contain any spillage?

		Is the secondary containment free of chemical contamination?

Hazardous Waste Storage & Disposal

		Are chemicals disposed of properly, rather than by sewer, evaporation or ordinary trash, (including containers with any remaining chemicals)?

		Is area free of spills and leaks? Is storage location visible or identified to EH&S?

		Is the size of the container appropriate for the rate of waste accumulation?

		Are incompatibles segregated (e.g. acids and bases in separate trays)?

		Are all containers sealed with the proper fitting lids/caps at all times except when adding chemical waste?

		Are container tops and sides free of spillage or chemical contamination?

		Are all containers, lids and caps compatible with chemical waste (e.g., strong acids or bases stored in glass containers as opposed to plastic.)?

		Are all chemical waste containers stored in a safe location (e.g. not in high traffic areas, away from any heat source), with adequate space around containers to allow inspection?

		Is all waste disposed of within 6 months of accumulation start date and/or are all full containers listed on a chemical waste pickup form to be submitted to EH&S?

		Are Extremely Hazardous Wastes properly identified and kept in quantities of < 1 quart? Are all full containers disposed of within three days? (List of Extremely Hazardous Wastes at:  http://ehs.ucsc.edu/Waste_Management/ehs.asp?page=pubs/Determination_Guide/b51)

Hazardous Waste Labeling

		Do all chemical waste containers have an EH&S Hazardous Waste Tag attached?

		Is the tag complete and all appropriate boxes checked?

		Does the accumulation start date listed on the tag coincide with the first day chemical wastes are collected in the container?

		Are all chemical ingredients listed as part of the waste composition? Do the percentages total 100%?  Are chemical names and not formulas used?

Fire and Electrical Safety

Yes	No

		Are fire doors unobstructed and closed during work?

		Are fire extinguishers mounted, clearly visible and fully charged?

		Is emergency equipment (alarm pull boxes, fire alarms, etc.) accessible and not blocked?

		Are supplies and equipment stored at least 18 inches from fire detection and suppression devises?

		Is there at least 2-foot clearance between stacked materials and light fixtures?

		Are electrical boxes, panels, receptacles, and fittings properly covered to prevent shock?

		Are the electrical appliances and lab equipment in good repair or removed from service?

		Are electrical extension cords used only for temporary operations, UL listed, equipped with a 3-prong plug, kept out of walkways and run directly to outlet (no daisy chain)?

		Are all multiple-outlet surge suppressers/power strips approved, UL-listed and used only for computers, peripherals and small equipment (not to power high wattage equipment)?

		Are electrical outlets within 6 feet of a water source or "wet area" equipped with a GFCI-type outlet (consider water baths, aquariums, & other operations with electrocution risk)?

		Are electrical cords free from damage, fraying, tape, or cracking; grounded with 3-prong plugs and not run through walls, ceilings, doors, across walkways or under equipment?

		Is there at least a 30-inch clearance in front of electrical panels/breaker boxes?

		Are hot plates, temp-blocks and other temporary heating units unplugged when not in use?

		Are any halogen lamps, portable heaters or other restricted items in use?

		Are electrical and telecommunication rooms used for storage?

Illumination and Egress

		Are exit signs visible and illuminated?

		Are exit aisles clear and free of obstructions (44", 36" or 24" clearance as required)?

		Can exit doors be opened from the inside without special knowledge or keys?

		Are exit doors free of slide bolts and locks?

		Are the windows, doors and automatic door closing devices in good repair?

Seismic Safety

		Is all furniture in stable condition?  Are storage racks bolted to the floor, wall, or together to form a stable structure?

		Are shelves and equipment greater than 4 ft. tall seismically braced to prevent falling?

		Do shelves and cabinet tops have lips or bungee restraints to prevent items from falling?

		Are shelf tops > 5 feet high without bungee or other restraints free of storage?

		Are corrosives, flammables, skin-absorbable poisons and heavy equipment kept below eye level?

Comments: