ENVIRONMENTAL HEALTH AND SAFETY					UNIVERSITY OF CALIFORNIA SANTA CRUZ

CONFINED SPACE ENTRY FORM

Certification: The entrant and attendant certify by their signature in the space(s) below that they have read, understand and will follow the protocol, on the reverse, side for entering non permit required confined spaces on U.C.S.C. property

| General Description of Space(s) to entered Work to be Performed |
| --- |
| sampling equipment/entry equipment | authorized entrants | authorized attendants |

Atmospheric Testing Data

Location                 Tester	     	  Date/Time	         Oxygen	         LEL    	        H2S	Other (Specify)

Additional Comments

Entry Supervisor

Note:	Sampling must be performed prior to each entry

Only trained personnel are to enter confined spaces or use sampling equipment.

KEEP POSTED ON JOB UNTIL WORK IS COMPLETED

White : Department Copy	 		     Canary: EH&S copy			3/25/94

CONFINED SPACE ENTRY PROCEDURE

NON PERMIT REQUIRED SPACE ENTRY ONLY

This procedure is an outline only. It does not include all required information for confined space entry.

All persons entering confined spaces or monitoring entrants in confined spaces must be trained and follow the procedures on this document and sign the certification on the other side of this form. If any conditions identified on this list are not met, a permit is required to enter. See your supervisor or contact EH&S at x2553.

DEFINITION: A no permit required confined space is a space in which there are no existing or potential

atmospheric or physical hazards which could incapacitate an entrant.

1.   Entry teams shall consist of a minimum of two people, an attendant and the entrant. Attendants and

entrants must be trained on confined space entry.

2.   Hazards assessment and testing must be performed by an individual familiar with the hazards of the

space. This person becomes the entry supervisor and must sign the entry form on the lower left.

3.   Emergency procedures must be understood by the entrant and attendant.

4.   Communication equipment to contact the rescue service must be on site. The designated rescue

agency on the main campus is the UCSC fire department.

5.   An instrument capable of measuring oxygen, explosive gas levels (LEL), hydrogen sulfide and any

other toxic substance to which the entrant might exposed must be on site. The instrument must be

calibrated frequently enough to ensure proper function.

6.   If possible, atmospheric testing must be done prior to removing manhole cover. If this is not

possible, move the manhole cover the minimum distance needed to insert the monitoring probe.

7.   Atmospheric testing shall be continuous and readings recorded every two hours on the reverse

side. Space shall be evacuated immediately if any monitor alarm is activated.

8.   The oxygen level must be measured first and be at least 20% for entry to be allowed. The

entrant(s) must exit the confined space if the oxygen level drops to 19.5% (Alarm Level).

9.   The LEL (lower explosive limit) is measured second and cannot exceed 5% for entry to be allowed.

10.  The hydrogen sulfide reading is measured last and cannot exceed 5 ppm for entry to be allowed.

11.  The space must be free of physical or mechanical hazards such as entrapment, engulfment or

other recognized hazard which could incapacitate an entrant.

12. Lockout/tagout procedures must be performed on all pipes which could discharge into the confined

space and all forms of exposed hazardous energy.

13. The material safety data sheet must be on site for any chemicals used and appropriate monitoring

equipment used to monitor the atmosphere.

14. Work using flame or generating sparks is defined as hot work and a permit is mandatory when

performing this type of work in a confined space. See your  supervisor or EH&S.

7/11/94 c:/safety/confdsp3